## Slide 1: MODUL 2: PHOTOVOLTAIKANLAGEN
Technologisches Bildungsinstitut Kreta
Netzverbundene PV-Anlagen mit oder ohne Batteriespeicher

## Slide 2: Modulziele
Am Ende dieser Einheit werden Sie:
  die Notwendigkeit der Speicherung in netzgekoppelten PV-Anlagen verstehen
  die Batteriedimensionierung in netzgekoppelten Systemen verstehen
  die Dimensionierung von PV-Anlagen in netzgekoppelten Systemen verstehen
  die wichtigsten Funktionen von PV-Modulen und Wechselrichtern kennen
  in der Lage sein, eine netzgekoppelte PV-Anlage zu konfigurieren
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 3: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Batteriespeicherung in netzgekoppelten Systemen
Unterstützungsprogramme für den Eigenverbrauch fördern und verbessern
das Niveau der Energiesicherheit erhöhen
ein Batteriespeichersystem kann als Backup fungieren
Gleichstromverbraucher
leistungskritische Lasten (DC oder AC)
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 4: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Batteriespeicherung in netzgekoppelten Systemen
Ein Batteriespeichersystem in einem netzgekoppelten PV-System erfordert:
Lasten
Netzanschluss
Photovoltaikmodule
Batteriezellen
Batterieladegerät
Wechselrichter
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 5: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Es gibt zwei Hauptmöglichkeiten, eine Batterie in ein netzgekoppeltes PV-System zu integrieren: entweder auf der Gleichstromseite des Systems oder auf der Wechselstromseite.
Bei der Wechselstromkopplung wandelt ein Wechselrichter direkt Gleichstrom (DC) in Wechselstrom (AC) um, und das System und die Batterie teilen sich entweder eine einzige Verbindung oder haben zwei separate Verbindungspunkte.
AC-gekoppelte Systeme werden häufig als Nachrüstung für ein bestehendes System installiert. In solchen Fällen ist es für den Installateur wichtig, sicherzustellen, dass der/die bestehende(n) PV-Wechselrichter mit der zu installierenden neuen Anlage kompatibel sind. Ebenso muss der neue wechselstromgekoppelte Wechselrichter/Lader auf Kompatibilität mit dem/den bestehenden PV-Wechselrichter(n) überprüft werden. Wenn eine AC-gekoppelte Ausführung über ein Trennrelais an der Netzversorgung verfügt (um einen netzfernen Betrieb zu ermöglichen), wird der vorhandene PV-Wechselrichter während eines Stromausfalls weiterhin eine elektrische Versorgung "sehen".
In der gleichstromgekoppelten Bauweise teilen sich Batterie und System eine Verbindung, die im Gegensatz zum wechselstromgekoppelten Ansatz nicht optional ist.
Notes: https://blog.fluenceenergy.com/energy-storage-ac-dc-coupled-solar

## Slide 6: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Notes: https://blog.fluenceenergy.com/energy-storage-ac-dc-coupled-solar

## Slide 7: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Ein Batteriespeichersystem auf der DC-Seite
Notes: https://blog.fluenceenergy.com/energy-storage-ac-dc-coupled-solar

## Slide 8: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Ein Batteriespeichersystem auf der AC-Seite
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 9: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Ein Batteriespeichersystem auf der AC-Seite, einschließlich BACKUP
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 10: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Batterieauslegung in netzgekoppelten Systemen
Komponenten
Ermittlung des Energiebedarfs
Bestimmung der einzelnen Lasten und der Betriebszeit
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 11: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Bestimmung des Energiebedarfs (z.B. EL= 10 kWh) oder der Lasten
Last | Leistung (kW) | Δt (Stunden) | Energie(kWh)
Kochen | 2.0 | 1.0 | 2.0
Kaffeemaschine | 1.0 | 0.5 | 0.5
Beleuchtung | 0.3 | 5.0 | 1.5
 |  | EL Gesamt | 4.0
Batterieauslegung in netzgekoppelten Systemen
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 12: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Batterieauslegung in netzgekoppelten Systemen
Batteriekapazität
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 13: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Dimensionierung von PV-Anlagen in netzgekoppelten Systemen
Adoptieren eines Modellwechselrichters von power Pac
Die Spitzenleistung der PV-Anlage beträgt Pp
Die Spitzenleistung eines PV-Moduls beträgt Pm
Bestimmung der Anzahl der Module N
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 14: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Dimensionierung von PV-Anlagen in netzgekoppelten Systemen
Spannungsbereiche
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 15: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Dimensionierung von PV-Anlagen in netzgekoppelten Systemen
Strombereiche
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 16: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Dimensionierung von PV-Anlagen in netzgekoppelten Systemen
Endgültige Konfiguration
Die Anzahl der PV-Module in Reihe und Parallelschaltung wird durch die zuvor festgelegten Werte Ns und Np bestimmt.
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 17: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Major features of modules and inverters
PV modules
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 18: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Hauptmerkmale von Modulen und Wechselrichtern
PV-Module
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 19: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Hauptmerkmale von Modulen und Wechselrichtern
PV-Module. Qualitative Merkmale
Effizienz (hoch oder niedrig)
PID-beständig
Zertifizierungen und Normen
Gewährleistung
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 20: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Hauptmerkmale von Modulen und Wechselrichtern
PV-Wechselrichter
AC-Nennleistung
Eingangsnennspannung
MPP-Spannungsbereich
Maximale Eingangsspannung
Maximaler Eingangsstrom
Anzahl der MPPTs
Maximaler Wirkungsgrad
Europäische Effizienz
Wechselrichter-Topologie
Zertifikate und Einhaltung von Normen
Schnittstellen
Gewährleistung
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 21: Netzgekoppelte PV-Systeme mit oder ohne Batteriespeicher
Konfiguration von netzgekoppelten PV-Systemen mit oder ohne Batteriespeicher
PV-Module: Anzahl der Module in Reihe und parallel
PV-Module: Ausrichtung und Neigungswinkel
PV-Module: Gestell- oder Einbaumontage, Reihenabstand
Wechselrichter: Konfiguration verschiedener Parameter
Batterie: Batterietyp, Kapazität, DOD
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 22: Modulziele
Sie haben nun das Modul 2.1 "Netzverbundene PV-Anlagen mit oder ohne Batteriespeicher" abgeschlossen und:
  verstehen die Notwendigkeit der Speicherung in netzgekoppelten PV-Anlagen
  verstehen die Batteriedimensionierung in netzgekoppelten Systemen
  verstehen die Dimensionierung von PV-Anlagen in netzgekoppelten Systemen
  kennen die wichtigsten Funktionen von PV-Modulen und Wechselrichtern
  sind in der Lage, eine netzgekoppelte PV-Anlage zu konfigurieren
Notes: Guidelines for the Trainer
This .ppt file is a template to be used from VET providers in order for them to prepare the training material.
We suggest 30 up to 40 .ppt slides for one (1) hour of the training program.
There are 3 predefined slides to be filled in by you, entitled “Module Objectives”, “Conclusion”, “End of module”.
Material should be sent in editable format.
Suggested font: Arial
Required font size: 16
Suggested line spacing: 1,5
ppt/pptx file should have a clear structure and defined units and unique slide titles
ppt/pptx slide contents should not exceed the predefined margins
Images, diagrams etc should be accompanied with a description
If you want to include comprehension questions (multiple choice, multiple responses, true/false, matching etc.) to enhance users’ understanding of the theory, you should embody them in the ppt/pptx file.
Questions that will be used for self assessment and final assessment quizzes should follow a predefined format that will be sent from SQLearn in an .xls file

## Slide 23: Vielen Dank für Ihre Aufmerksamkeit.